

****

**EcoSalt™ Salt Water Chlorinators**

Davey Water Products Pty Ltd is issuing a product recall on its range of EcoSalt™ Salt Water Chlorinators sold in Australia through various retailers and pool builders.

**Which models are affected?**

All EcoSalt™ Chlorinators are affected. These products are used as a pool sanitation system in small to medium-sized domestic pools and large swim spas. They have been manufactured by Davey for approximately 10 years and distributed throughout Australia.

**How do you identify the product?**

The EcoSalt™ Chlorinator can be easily identified. The chlorinator cell is connected to the power supply and the power supply contains a label which identifies the product as an EcoSalt™ chlorinator.

**Product issue**

There have been reports of some cell components of the EcoSalt chlorinators fracturing/rupturing, causing damage to the cell and occasionally to connecting pipework.

**Hazard**

If the cell was to fracture or rupture, plastic fragments could be ejected and cause injury to bystanders. No injuries have been reported at the time of this notice.

**What should I do?**

Davey recommends that consumers with an EcoSalt™ chlorinator should immediately:

* read the supplementary product information - "Important Safety Instructions for Use" - available at Davey's website ([www.davey.com.au](http://www.davey.com.au)/flowswitch) and ensure that your pool pump circulates sufficient water to completely fill the chlorinator cell during the chlorination process; and
* contact Davey to arrange the free installation of a mechanical flow switch. Consumers can contact Davey's dedicated hotline on **1300 889 387** between 9am and 5pm on Monday to Friday AEDT, visit www.davey.com.au/flowswitch or contact your local Davey pool equipment dealer.